Questions Log - AAH1708 webinar “Scripps Barbey Family Emergency and Trauma Center: A Partnership in Design for the Future”

Q: Can you please confirm the size of the Rapid Treatment Bays?

A: The Rapid Treatment bays are designed similar to the exam rooms and are roughly the same size at 120 SF.

Q: Can you discuss if the ambulance garage was evaluated for a drive thru garage in lieu of a drive in garage? It appears in the plan to be a drive in style ambulance garage. Also, how many ambulances can unload patients at one time?

A: There is space for 4 ambulances at the Ambulance canopy.  In addition, there is extended parking to the north of the building.  HOK designed a “drive-thru” canopy for the ambulances at our Ventura County Medical Center North Wing project.  The traffic flow and the canopy positioning lets the ambulance drive straight in and out, without having the need to back up.  There are limitations to Ambulance canopy in the California Building Code as regulated by OSHPD that restricts buildings and occupants too close to parked ambulances.

Q: During programming can you share your grossing factor for circulation for this operational model?

A: 1.6 net to DGSF

Q: How are behavioral health patients handled?

A: There are four rooms in strategic locations in the Emergent Care area that are designated as Secured Holding Rooms, designed similar to the ED exam rooms with additional security and video monitoring capability.  Sitters and constant observers are assigned to these patients.  However, during review with state licensing, they were not allowed to function as intended.

Q: Did you have discussions related to metal detection at walk in entry. If added how was this incorporated into the design.

A: Scripps chose not to install metal detection at this facility.

Q: How was radiation scatter/shielding accommodated in the open treatment room with xray serving multiple open stations?

A: The portable x-ray screens are used to shield the patients and staff in the Trauma area.  In addition, the ceiling-mounted x-rays can be remotely actuated, so the staff can stand back, but not necessarily move all the way to the x-ray work station.  In speaking with the Radiology staff, they generally communicate with the room when the x-rays are being taken, so having an open space helps with that.

Q: also metal detection at the ambulance entry as this has been an issue with our clients

A: Scripps chose not to install metal detection at this facility.  The Ambulance entry is secured and cannot be entered without proximity cards.

Q: What was the SF of this renovation?

A: The Emergency Department is 36,000 SF

Q: Are you doing quick registration at the front desk and then bed side registration?  Is an RN at your front desk?

A: Yes, we do a quick registration in front simultaneously while the nurse is assessing and doing vitals, then registration is finished after the Medical Screening Exam, for Tier 2 patients.

Q: Sounds like a very successful project and everyone's still friends! Congratulations.  Any rough patches you can share?

A: From the clinical perspective, it was a learning curve to shift our culture from being right on top of each other to covering a huge ER

Q: 1. Do you have any issues with ED boarding?

A: Yes, we struggled over the winter due to a 10% increase in volume and the consolidation of our 2 Cardiac programs.  With the opening of the CDA in late January, we have been able to reduce admissions thus allowing a better flow to the units.

Q: Where is the decision made to give care to the patient based on their condition?

A:  At Quick Look (Triage) for walk-in patients.  The nurse also assess the ambulance patients as well.

Q: Any difficulties in staffing 2 separate treatment areas?

A: No, our ratio is 1-4 so when Acute 2 opens we place 4 patients there immediately.  CDA is open 100% of the time so if there are less than 8 patients in that unit we simply place an ED patient in the Acute 2 bed closest to the CDA.

Q: 1. Are patients discharged from the ED and admitted to the CDU?  2. Do you also have any dedicated Observation Units in the hospital?

A: No, our CDU are licensed ER beds and managed by the ER Physicians with specialists consulting. We are fairly prescriptive on patient type that we admit to CDA.  As mentioned, our goal is to discharge these patients with 17 hours.  Nationally, about 20% do get admitted due to repeat labs or CT’s etc.

No, we do not have any dedicated Observation Units in the hospital.

Q: Were provisions made for mass decontamination?

A: We have a patient shower designed with interior and exterior access near the ambulance drop off area.  For mass decontamination, Scripps bring a portable truck.  The team provided water connection for the truck near the ambulance drop off.

Q: Is there any issues with NOT having overhead gasses / power over the patient head and foot in your Trauma Room?

A: No. We actually laid out the head walls on paper during the construction phase to maximize placement of O2 and gases. It really helped give the Trauma nurses and surgeons the ability to see how it would work. Plus the overhead imaging is phenomenal and we highly recommend it.

Q: How much use is the MRI getting and is it shared with inpatient imaging?

A: A lot it has become the go to MRI since it is the latest technology.  Patients are stratified by risk so we are able to place the most critically ill patient in it and use the older one in our other tower for lower acuity patients.

Q: how has the small waiting area worked for peak periods?

A: Amazingly well. With 51 total beds we really are able to move our patients into a room pretty efficiently.

Q: How big are the trauma bays?

A: Approximately 300 SF with 4 bays.

Q: In the Rapid Treatment bays - how is patient privacy protected between acoustics and the display screens?  And what kind of injuries/circumstances are considered Rapid Treatment vs. ED exam or Trauma?

A: The rapid treatment bays have 3 walls so it does help reduce how the sound carries.  Since these patients are fairly quick turn around, the risk is also minimized for privacy breaches. We do tend to be quieter in that unit as well. As for the display screen at that Nursing station none of them face the patients and we have dual screens on all those computers so we can monitor them both in the room and at the nursing station. 
Rapid Treatment are generally ESI 1-2 (an occasional 3 that’s not exhibiting additional symptoms. Ex; Broken arm, small laceration etc.  ACUTE patients are 3-5 ESI and have symptoms, aa clinical history of a higher risk disease (COPD, prior MI, CHF, heart attacks suicide attempts, drowning, head injuries stroke, etc. as well. We get a medic report from all the ambulances so we know what’s coming in). Trauma criteria is set by the county Motor Vehicle accidents, gunshots, stabbings, motorcycle accidents over 20 miles per hour, falls on thinners, etc. The criteria is clearly spelled out for Trauma.

Q: Can you explain if you incorporated staff only corridors in this plan?  If so can you point out the primary staff discreet circulation and access points?

A: The east corridor by the Ambulance entrance and staff offices and locker room/lounge is a staff only corridor.

Q: Can you please elaborate on the bariatric features within each of the service lines? The full coverage lifts were obvious in the Trauma bays but are there other welcoming features for patients needs those amenities?

A: We had increased the door width size to accommodate a bariatric wheelchair and specified special chairs in the waiting area.