## Slide 1
SESSION 3: ANALYTICS VS. COMPUTATIONAL DESIGN
TAP BUILDING CONNECTIONS CONFERENCE
JANUARY 13, 2020

## Slide 2
?

## Slide 3: HOW CAN WE MAKE A MORE COMFORTABLE SITE?
Thermal Comfort From Shade
Thermal Comfort From Wind
Sunny with no Wind
Shaded with no Wind
Shaded with Wind

## Slide 4: HOW CAN WE MAKE A MORE COMFORTABLE SITE?

## Slide 5: HOW CAN WE MANIPULATE A FAÇADE TO IMPROVE COMFORT AND REDUCE ENERGY?
Window Height
Sill
Height
Overhang
Depth
Overhang Angle

## Slide 6: HOW CAN WE MANIPULATE A FAÇADE TO IMPROVE COMFORT AND REDUCE ENERGY?

## Slide 10
Notes: Toolkit v.s. Tool
Options v.s. Ease
Personality v.s. Automation
Community vs Pyramid
Integrating data with geometry

## Slide 11: SIMULATION ECOSYSTEM
HOW CAN WE MAKE DECISIONS TO REDUCE ENERGY BEFORE WE HAVE A BUILDING?

## Slide 13: THERMAL COMFORT - TWO WAYS
RADIANT FLOORS
NATURALLY VENTILATED ATRIUM

## Slide 14: TOOL KIT
LADYBUG
HONEYBEE
Architect
Engineer
COLIBRI
THERM
RADIANCE
OPENSTUDIO
ENERGYPLUS
AMBIENS
ENERGYPLUS
IES VIRTUAL ENVIRONMENTS
TRANE TRACE

## Slide 15: PEAK SOLAR LOADS ON SLAB

## Slide 16: PEAK SOLAR LOADS ON SLAB

## Slide 17: FEEDBACK LOOPS
Energy & Mechanical
Thermal Comfort
Daylighting
Building Envelope
LEED & EUI
WHAT SYSTEMS SHOULD WE CONSIDER FOR THE BUILDING?
AND LET’S OPTIMIZE OCCUPANCT COMFORT AND EXPERIENCE!
FOR RADIANT SYSTEMS, WHAT ARE THE LIMITING FACTORS FOR ENVELOPE, INTERNAL GAINS AND SOLAR HEAT GAIN?
HOW DO WE OPTIMIZE ENERGY EFFICIENCY OF THE CENTRAL PLANT FOR THE RADIANT SYSTEMS?
Notes: Payette – envelope – code vs passive house thermal requirements, glazing selections
Payette – therm parametric study – loads
BHE – interaction re energy and mechanical loads and cap on solar radiation = target
Payette – daylight/ solar heat gain studies
BHE – fine-tuning , mechanical design (loads, zoning, space allocations, heating/ cooling dominated)
Payette and BHE – joint energy model, technology issues with IES, shared files/ tools

## Slide 18: SHADE POCKET SOLUTION

## Slide 19: THERMAL COMFORT - TWO WAYS
RADIANT FLOORS
NATURALLY VENTILATED ATRIUM

## Slide 20: ATRIUM COMFORT PROCESS
ENERGYPLUS MODEL
CFD - TAS AMBIENS MODEL
DESIGN
IES VIRTUAL ENVIRONMENTS
Architect / Building Scientist
Engineer
Notes: EnergyPlus model to pull out surface temperatures for design conditions (was July 20th, then September 10th)
Ladybug/Honeybee used to find solar adjusted surface temperatures with EnergyPlus model and microclimate map analysis
CFD study in TAS Ambiens with these values

## Slide 21: ATRIUM COMFORT CFD
AIR TEMPERATURE
(DRY BULB)
OPERATIVE TEMPERATURE
Notes: 2.67 ft/s approx. highest acceptable air speed

## Slide 22: QUANTIFYING COMFORT

## Slide 23: A Museum for the National Coast Guard

## Slide 24: EARLY INTUITION

## Slide 25: EARLY INTUITION

## Slide 26: EARLY, PARAMETRIC PERFORMANCE MODELING
Notes: 2.67 ft/s approx. highest acceptable air speed

## Slide 27: EARLY, PARAMETRIC PERFORMANCE MODELING
Notes: 2.67 ft/s approx. highest acceptable air speed

## Slide 28: DETAILED DESIGN STUDIES
8’ CHILLED BEAM CAPACITY
8’ CHILLED BEAM CAPACITY

## Slide 29
Central South University – Fifth XiangYa Hospital
2015 AIA National Healthcare Design Award, Unbuilt

## Slide 31: CAN WE NATURALLY VENTILATE THE HOSPITAL FOR 10 MONTHS OF THE YEAR?

## Slide 32: CAN WE NATURALLY VENTILATE THE HOSPITAL FOR 10 MONTHS OF THE YEAR?

## Slide 33: CAN WE CREATE A COMFORTABLE EXPERIENCE IN THE WINDOW BOX?

## Slide 34: CAN WE CREATE A COMFORTABLE EXPERIENCE IN THE WINDOW BOX?
Direct Sun Study

## Slide 35: CAN WE CREATE A COMFORTABLE EXPERIENCE IN THE WINDOW BOX?
Daylight

## Slide 36: CAN WE CREATE A COMFORTABLE EXPERIENCE IN THE WINDOW BOX?
Views
Sun Vectors
Occupant Location
45
vectors blocked
6
vectors blocked

## Slide 37: HOW CAN WE PROTECT PERFORMANCE AND DESIGN IN VALUE ENGINEERING?

## Slide 38: HOW CAN WE PROTECT PERFORMANCE AND DESIGN IN VALUE ENGINEERING?

## Slide 39: HOW CAN WE PROTECT PERFORMANCE AND DESIGN IN VALUE ENGINEERING?

## Slide 40: HOW CAN WE PROTECT PERFORMANCE AND DESIGN IN VALUE ENGINEERING?
10 cm
30 cm
50 cm
70 cm
“smart”
10 cm
30 cm
50 cm
70 cm
“smart”
10 cm
30 cm
50 cm
70 cm
“smart”
HVAC System Size / Cost
Shade Material Quantity
Window Box Comfort

## Slide 42
100%
of required energy generated cleanly on site
97%
of annual non-potable water demand supplied by on-site wastewater treatment plant
60%
of the year natural ventilation for patient rooms

## Slide 43
Questions?