## Slide 1: Academy of Architecture for Health On-line Professional Development
The Highly Reliable Hospital:
Creating a Facility for a HRO
Masters Studio Series
08, August, 2017
2:00 pm – 3:00 pm ET
1:00 pm – 2:00 pm CT
12:00 am – 1:00 pm MT
11:00 am – 12:00 pm PT
Presenters:
Christine Basiliere RNC, BSN, MBA
Sharp Chula Vista Medical Center
Matt Richter AIA, ACHA
SmithGroupJJR
Moderator
Rita Ho, LEED AP

## Slide 2: Academy of Architecture for Health On-line Professional Development
The Highly Reliable Hospital:
Creating a Facility for a HRO
Masters Studio Series
08, August, 2017
2:00 pm – 3:00 pm ET
1:00 pm – 2:00 pm CT
12:00 am – 1:00 pm MT
11:00 am – 12:00 pm PT
Presenters:
Christine Basiliere RNC, BSN, MBA
Sharp Chula Vista Medical Center
Matt Richter AIA, ACHA
SmithGroupJJR
Moderator
Rita Ho, LEED AP

## Slide 3
Masters Studio Series
The Academy’s multi-channel on-line approach provides emerging professionals, journeymen, and master professionals with convenient and economical opportunities to develop their chosen area of interest.
Masters Studio Series sessions are tailored to provide healthcare design professionals with sufficient exposure to jump-start interest in wanting to learn more.

## Slide 4
Copyright Materials
This presentation is protected by US and International Copyright laws. Reproduction, distribution, display and use of the presentation without written permission of the speaker is prohibited.
©2017 The American Institute of Architects

## Slide 5
Compliance Statement
“AIA Knowledge” is a Registered Provider with The American Institute of Architects Continuing Education Systems (AIA/CES). Credit(s) earned on completion of this program will be reported to AIA/CES for AIA members. Certificates of Completion for both AIA members and non-AIA members are available upon special request.
This program is registered with AIA/CES for continuing professional education. As such, it does not include content that may be deemed or construed to be an approval or endorsement by the AIA of any material of construction or any method or manner of handling, using, distributing, or dealing in any material or product.

## Slide 6
AIA/CES Reporting Details
All attendees will be eligible to receive: 1 AIA LU/HSW (AIA continuing education)
In order to receive credit, each attendee must complete the webinar survey/report form at the conclusion of the presentation.
Follow the link provided:
in the Chat box at the conclusion of the live presentation;
in the follow-up email you (or the person who registered your site) will receive one hour after the webinar.

## Slide 7
Questions?
Submit a question to the moderator via the chat box.
Content-related questions will be answered during the Q&A portion at the end as time allows.
Tech support questions will be answered by AIA staff promptly.

## Slide 8
The Highly Reliable Hospital:
Creating a Facility for a HRO
Presenters
Matt Richter AIA, ACHA
Vice President, Healthcare Planner
SmithGroupJJR
Christine Basiliere RNC, BSN, MBA
CNO & Vice President of Patient Care Services
Sharp Chula Vista Medical Center

## Slide 9
Sharp Chula Vista Ocean View Tower
A Presentation on HRO

## Slide 10: Session Learning Objectives:
What makes a Highly Reliable Organization (HRO) and how a culture of reliability in hospital operations is created.
The story of how HRO was designed into a healthcare facility.
Putting the patient at the center of safe and secure design.
Taking HRO into the construction process.

## Slide 11
High Reliability Organizations (HROs) “operate under very trying conditions all the time and yet manage to have fewer than their fair share of accidents.”
Managing the Unexpected (Weick & Sutcliffe)
Risk=probability x Consequence
By decreasing the probability of an accident,
HROs operate to make systems ultra-safe
Safety Focus + performed as intended = No Harm
consistently over time
2015 Healthcare Performance Improvement

## Slide 12: Hospitals are different: We have to work harder
HOSPITALS | TRADITIONAL HRO
SMALL BUT FREQUENT ACCIDENTS | FEW ACCIDENTS
EPIDEMICS | CATASTROPHES
DESIGNATED VICTIM, PATIENT | DESIGNATED VICTIM, OPERATOR
DOUBLE HUMAN BEING SYSTEMS | HUMAN –ARTIFACT SYSTEMS
EMOTIONAL, NEGOTIATION- BASED DECISION MAKING | RATIONAL DECISION MAKING
EVER CHANGING ORGANIZATIONS | STABLE ORGANIZATIONS
DIVERSE INTERACTIONS | DEFINED INTERACTIONS
EXPERIMENTATION-BASED PRACTICE | PROCEDURE- BASED PRACTICE
Bagnara, Parlangeli, Tartaglia 2010. Are hospitals becoming high reliability organizations. Applied Ergonomics 41 (2010) 713-718

## Slide 13
At the heart of our organization are more than 18,000 employees, affiliated physicians and volunteers who are dedicated to making health care better for our patients, their families and one another. It’s what we call The Sharp Experience and it comes to life in everything we do. It’s what we do, it’s how we do it and why we do it.

## Slide 14
SHC’s HRO Commitment
Sharp is committed to ensuring highly reliable systems, structures, processes, and behaviors to achieve zero defects and zero harm to employees, physicians, and patients and their families.
HRO vision and strategy
HRO Vision = Sharp HealthCare’s vision:
“To be the BEST place to work, BEST place to practice
medicine and BEST place to receive care.”
The HRO initiative is helping us advance The Sharp Experience

## Slide 15: Sharps RFP and HRO Requirements
“The goal is ‘zero’ harm. The code requires many features to “hard wire” infection control. What additional design features can be included in the design to advance Sharp’s HRO objective? “

## Slide 16
2015 Healthcare Performance Improvement
RELIABILITY
CULTURE
“Failure Prevention”
Evidence-Based Process Bundles | + | performed as intended consistently over time | = | Clinical Excellence
Patient Centered | + | performed as intended consistently over time | = | “Satisfaction”
Safety Focus | + | performed as intended consistently over time | = | No Harm
Financial Focus | + | performed as intended consistently over time | = | Margin

## Slide 17: The HRO Design Process
RFP calls for HRO design features
Technical Submittal of the bid identifies 33 features
By the end of Design Development the list of HRO features grew to 55

## Slide 18: Are we creating a Highly Reliable Environment for care? Or just supporting “best practice”?

## Slide 19
Let’s explore healthcare that are hard-wired for patient, visitor and staff safety.
hard·wired / härdˈwī(ə)rd / adjective
1. pertaining to or being an intrinsic and
relatively unmodifiable behavior pattern
Designing and Planning for HRO

## Slide 20
Designing and Planning for HRO
Maintaining the highest standards for quality and safety is integral to good design. We were asked to think beyond the ‘typical’.
Performance metrics for the cultural zero-harm hardwiring include:
  Patient safety
  Staff safety
  Quality of clinical operations
  Engagement of patients
  Staff & Physician satisfaction
  Financial health

## Slide 21: Basic Design Premise
Architecture can be an enabler by providing elements to support behavioral change
Architectural planning and layouts can also be restrictive, promoting cultural changes by not allowing certain flows or cross-overs to occur
Staff and providers must use the building as intended: not to short-circuit the features designed to support patient safety and error reductions

## Slide 22: Key Architectural Planning Concepts
Separation of clean and soiled – corridors
Segregated vertical transport – patients, materials, food
Dedicated spaces that support collaboration and communication
Clear sightlines
Private space for focused work
Intuitive wayfinding for patients and visitors

## Slide 23: HRO Clean & Soiled Segregation Starts Outside the Building

## Slide 24: HRO Floor Circulation Materials Transport and Segregation
Linen
Morgue
Pharm.
Kitchen
CSSD
Existing
Soiled
Dock
Clean
Dock
Level 1

## Slide 25: HRO Materials Transport and Segregation
Level 2
Materials
Management
CSSD
Case Carts
Visitor
Elevators
Food
Transport
Patient
Transport

## Slide 26
Level 4
Materials
Management
Visitor
Elevators
Food
Transport
Patient
Transport
HRO Segregation of Vertical Transport

## Slide 27: HRO Departmental Layouts: CSPD
Prep/pack
Sterilization
Selection of the two sided sterilizers:
Greater separation
Improved safety
Reduced risk
Required slightly higher area
Slightly higher costs

## Slide 28: HRO: On the Patient Floors
Multi-purpose room
Collaboration Rooms
Typical Bed floor
Support the Daily Huddle
Support interdisciplinary collaboration

## Slide 29: HRO: In the Patient Rooms
Typical Med/Surg. room
Visibility
Patient safety
Staff safety

## Slide 30: HRO: Is in the Details
Multiple user reviews thru full virtual and physical mock-ups
Over 72 items have been identified & revised thru the mock-up process
Overall more than 100 process improvements

## Slide 31: Documenting the HRO Design Features

## Slide 32: 55 Design Features that Support HRO
Sinks
Single
Occupancy
Air handlers with UV
Disinfectant to counter
Microbial growth
Major
Advancement
20
Code
8
Standard Practice
14
Improvement
28
All plumbing
fixtures with
anti-microbial
finish

## Slide 33
Basic Human Needs (Human Factors)
HRO Design: Patient Experience

## Slide 34: Excellence in Design + Safe = HRO
The Journey: Safe and Secure
Patient Anxiety to Patient Experience
Safe
Comfort & Nurture
Control
Secure
Reduce
Anxiety

## Slide 35: HRO Design: Patient Experience
Patient Anxiety…. Patient Experience
In progress…
Care process aligned with design process aligned with patient experience…
Security and Safety

## Slide 36: Theory into Design: The Experience
Arrival

## Slide 37: Theory into Design: The Experience
Pathway

## Slide 38: Theory into Design: The Experience
The Front Door

## Slide 39: Theory into Design: The Experience
Wayfinding

## Slide 40: Theory into Design: The Experience
Waiting

## Slide 41: Theory into Design: The Experience
Wayfinding From Parking

## Slide 42: Theory into Design: The Experience
Entry From Parking

## Slide 43: HRO Design: Patient Experience
Meeting basic human needs
Access to information
Having clearly marked navigation
Controlling natural light and views
Controlling artificial light
Controlling noise
Environmental aesthetics

## Slide 44
Upcoming Break for Questions and Comments
Submit a question to the moderator via the chat box.

## Slide 45: HRO: Construction
Safety is our top priority!
How do HRO concepts advance standard practice?

## Slide 46
 |  |  |  |  | What is New |  | 
# | Features | Type of Feature | Code | Standard Practice | Minor Advancement | Major Advancement | Comments
15 | HP's 6 Step QC Process | Processes |  |  |  | þ | (1) Buyout Meeting, (2)Pre-MOB Meeting, (3) Prep Meeting, (4) Initial inspection, (5) Follow-Up Inspection & (6) Final Inspection
16 | Immediate Stop Rule when requested by the Hospital | Processes |  |  |  | þ | Every craft person is directed to stop if so directed by a designated Hospital representative
17 | GC issues a "Right to Excavate Permit" | Processes |  |  | þ |  | HP Superintendent issues a permit, after all safety checks are satisfied
18 | High Risk Safety Audits | Processes | X |  | þ |  | OSHA requires scaffolding audit at 125 ft., HP audits at 50 ft. or greater. Crane construction is also audited prior to use
19 | Daily Huddles | Processes |  | ­ | þ |  | Enhanced by the participation of the Owner when needed
20 | STICC communication process is used to manage risks | Processes |  | ­ | þ |  | Situation, Task, Intent, Concern, Calibrate = STICC. JHA (Job Hazard Assessment) is enhanced by a more detailed review of STA (Safety Task Analysis). Hensel Phelps personel also have digital access to all AHA's and STA's while in the field, which allows for immediate review and corrective action when required.
21 | "Zero" tolerance for infection control breaches | Processes |  |  |  | þ | Sharp contract requirement.
22 | Mobile & Tablet Safety Application | Tools |  |  |  | þ | All team members have access to a mobile applications that contains all vital safety documentation such as the emergency action plan, staff responsibilities, emergency contacts, site logistics, etc.
23 | Digital Gang Boxes | Tools |  |  | þ |  | Computer screen and server on each floor for easy access to drawing and submittals. Connects to files for IOR Issues Log and Punch List items.
24 | Use Noise Monitoring & Vibration monitoring equipment to help mitigate excessively disruptive activities | Tools |  |  |  | þ | Tools used to pre-test for impact in clinical area. Used to plan timing for activities and additional mitigation measures that may be needed.
25 | Geocomp's iSite Monitoring System for continuous real time monitoring of infection control barriers. | Tools |  |  |  | þ | Traditional negative air monitoring is periodic. This is real time and sent to superintendents cell phone.
26 | Drone updates enhances communication | Tools |  |  |  | þ | major milestones of construction are reported with a drone video.
27 | 4D Scheduling | Tools |  |  | þ |  | 3D BIM enhanced with the use of 4D scheduling to review construction sequencing activities for safety issues. One more tool to ensure "no surprises".
28 | Waterproof fire caulking at all pipe penetrations | Barriers |  |  | þ |  | To control water migration during construction and in the final condition.
29 | Waterproof sealant at the bottom framing tracks at all shafts | Barriers |  |  | þ |  | To control water migration during construction and in the final condition.
30 | Waterproof sealant at all perimeter firesafing areas | Barriers |  |  | þ |  | To control water migration during construction and in the final condition.
 |  |  |  |  | What is New |  | 
# | Features | Type of Feature | Code | Standard Practice | Minor Advancement | Major Advancement | Comments
1 | The job was awarded to the team with the best HRO design and construction features. | Safe Culture |  |  |  | þ | The culture of HRO is the foundation of the design, the construction practices and the very working of the design Build team.
2 | The Team culture of Trust improves communication & problem solving | Safe Culture |  |  |  | þ | Team Culture defined by Respect & Trust. Our Teaming Agreement establish our rules of engagement.
3 | Bottoms Up Communication - Every construction worker | Safe Culture |  |  |  | þ | Building a culture of communication where apprentices and up are empowered to speak & identify safety concerns
4 | Education of all workers for Safety & Infection Control practices | Safe Culture |  | ­ | þ |  | Education begins by changing how the workers view the work and understand the HRO objectives.
5 | The Design Build Team works as a partnership. | Team |  |  |  | þ | Strong coordinated problem solving
6 | Inspectors of Record report weekly concerns in OAC meeting; resolution occurs as soon as possible | Team |  |  |  | þ | IOR are Owner's representatives and are members of the team. Issue are reported weekly and tracked for early completion.
7 | Safe Observations - Cross monitoring | Team |  |  | þ |  | Walk the job site & know the work force by name, Two person check on each other to verify safety conditions (cross-monitoring)
8 | Safe Walks - Inside the Fence | Team |  |  | þ |  | Fresh eyes from 2 staff folks assigned to another area of the project. Daily reports & real time corrective actions.
9 | "Zero" NNC (Notice of Non-Compliance) | Team |  |  |  | þ | Issues resolved quickly and on schedule need never to turn into an NNC. "Zero" is the goal.
10 | Inviolable Rules - Causes for removal from jobsite | Team |  |  | þ |  | Significant safety violations that have the potential to place self or others in harms way will not be tolerated. They will result in removal from the jobsite and will be reported in the company database.
11 | Discipline Database | Team |  |  |  | þ | Hensel Phelps maintains a database of all discpline violations across southern california. This makes the team aware of previous violations on other projects, and helps determine if the individual has the safety philosophy needed to work on our projects.
12 | Safety Committee - Monitors safety issues in order to seek ways to improve | Improve |  |  | þ |  | HP & Subs have a Safety Committee that meets weekly to review Safe Observation reports, Near-Miss Reports.
13 | Near-Miss Reporting | Improve |  | ­ | þ |  | The goal is to learn from a near miss event and use the event to improve process controls. All near misses are reviewed with the staff and all subcontractor foremen to spread awareness of the potential issue. In addition, Hensel Phelps is made aware of near misses from other projects so we can ensure we dont have a simliar situation occur.
14 | Public Hazard Audits | Improve |  | ­ | þ |  | 3rd party audits

## Slide 47: The HRO Construction Safety Pyramid
Barriers
Tools
A Safe Culture
Team
Seek Ways To Improve
Reliable Processes
Built Environment
Technology Tools
People

## Slide 48
Assume will not go as planned
Immediate Stop Rule
Partnership
Bottom-up Communication – More eyes on site
Attitude

## Slide 49
Field Tablets
Access contract documents
Quality Control
Safety

## Slide 51
Expanded Kitchen
RFP Renovate Kitchen
New
Existing

## Slide 52
Complete
Expanded
Kitchen
Future
Program
Space
New
Existing

## Slide 53: Construction HRO Advancements
People
Attitude/Empower
Cost
Minimal impacts
Schedule
Minimize phasing
Significantly shorter schedule
“Separate = Safe”

## Slide 54
What might HRO mean to you in your industry?

## Slide 55
Time for Questions and Comments
Moderator
Rita Ho, LEED AP
???-!!!

## Slide 56
CES Credit
All attendees are eligible to receive: 1.0 HSW/CEU (AIA continuing education)
Attendees at your site can submit for credit by individually completing the webinar’s survey and report form. The survey closes Friday, August 11, 2017 at 12:30 am EDT.
The URL to the webinar survey/form https://www.research.net/r/AAH1707 will be emailed to the person who registered your site.
More continuing education questions? Email . . . knowledgecommunities@aia.org.

## Slide 57
Join us at The Academy of Architecture for Health!
• Receive Academy Update newsletters
• Access to resources
  Knowledge Repository
  Webinars
  Award programs
  Scholarships, Fellowships
  Emerging professionals benefits
  National and regional conferences and events
  Social media, publications, blogs and Twitter

## Slide 58
To join us or update your account go to . . .
www.aia.org/aah
Click here

## Slide 59
Upcoming Webinars*
Date | Series | Topic
09/19 | Case Study Series | Scripps Prebys Cardiovascular Institute Barbey Family Emergency and Trauma Center
10/10 | HC 101 Series | Lean Concepts Drive Healthcare Architecture Planning and Design
11/07 | Masters Studio Series | Generative Design for Healthcare Planning
*Dates and topics are subject to change
Visit www.aia.org/aah for more information and to register.